Start Up Procedure for Eemax “SP” Heaters

- Power off at breaker, install unit.

- Take off aerator from faucet end

- Turn on Hot side of faucet full blast to purge system of air

- Leave water running and power up the unit.

Light should come on, water will be cool.

- Shut off faucet

- Install the factory provided, ½ gpm aerator

- Test system by turning on the hot side only of the faucet, light should come on, you should here a click and water should have heat.

Service questions: 1-800-543-6163

Harcro Sales

1945 Alpine Way,

Hayward, CA 94545